PRM007/1

DEPARTMENT OF PUBLIC WORKS

INCEPTION CHECK LIST

- The inception check list is a tool enabling the Project Manager to check whether all information needed for the planning of the facility has been made available including an accommodation schedule, with room usage, required equipment, furniture and services with dimensioned positions.

- The inception check list must be adapted/adjusted and/or amplified to satisfy the needs of a specific project being either a new or an existing building/facility.

PRM007/2

INCEPTION CHECK LIST

| 1. Nature of Project: |  |  | WCS: |  |
| --- | --- | --- | --- | --- |
| Outline of objective |  |  |  |  |

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 1.01 | function |  |  |  |
| 1.02 | services |  |  |  |
| 1.03 | finishes |  |  |  |
| 1.04 | furniture and fittings |  |  |  |
| 1.05 | landscape and site. |  |  |  |

2.	Schedule of accommodation

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 2.01 | Population figures |  |  |  |
| 2.02 | Functional diagrams, etc. |  |  |  |

3.	Expenditure intended

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 3.01 | Statements of costs limits if any, see Part 3.514 Cost Limits |  |  |  |

REMARKS:

PRM007/3

4.	Dates and tentative programme

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 4.01 | Survey and detailed analysis of site; |  |  |  |
| 4.02 | Submission of outline proposals, scheme design and approximate estimates; |  |  |  |
| 4.03 | Statutory applications; |  |  |  |
| 4.04 | Start of production information; |  |  |  |
| 4.05 | Start of bills of quantities |  |  |  |
| 4.06 | Out to tender |  |  |  |
| 4.07 | Contract let |  |  |  |
| 4.08 | Possession of site and start of works |  |  |  |
| 4.09 | Completion and handover |  |  |  |
| 4.10 | Defects liability period and final account |  |  |  |

5.	Procedure

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 5.01 | Client’s authorised representative |  |  |  |
| 5.02 | Client’s special requirements regarding selection of main contractor, sub-contractors and suppliers |  |  |  |
| 5.03 | Client’s special requirements regarding cost control; formal approval of overall cost only; or detailed breakdown of elements, finishes, services, etc., item by item, see Part 3.260 Cost Control |  |  |  |

REMARKS:

PRM007/4

6.	PWD Conditions of Engagement

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 6.01 | Scope of services |  |  |  |
| 6.02 | Scale of charges |  |  |  |
| 6.03 | Incidental expenses and travelling |  |  |  |

7.	Clerk of Works

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 7.01 | If constant supervision is required, refer to PWD Conditions of Engagement |  |  |  |
| 7.02 | Mechanical services Clerk of Works |  |  |  |
| 7.03 | Electrical services Clerk of Works |  |  |  |
| 7.04 | Site supervision generally |  |  |  |

8.	Other members of the design team already appointed or to be recommended; method of appointment and scale of fees.

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 8.01 | Quantity surveyor |  |  |  |
| 8.02 | Structural engineer / Civil engineer |  |  |  |
| 8.03 | Mechanical services engineer |  |  |  |
| 8.04 | Sanitary engineer |  |  |  |
| 8.05 | Electrical engineer |  |  |  |
| 8.06 | Acoustical expert |  |  |  |
| 8.07 | Landscape architect |  |  |  |
| 8.08 | Painters and sculptors |  |  |  |
| 8.09 | Model makers etc. |  |  |  |
| 8.10 | Dolomite Risk Manager |  |  | Departmental (HQ) |

REMARKS:

PRM007/5

9.	Site

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 9.01 | Survey available or required to be done by the Department or outside surveyor |  |  |  |
| 9.02 | Legal position: freehold, leasehold, etc. restrictive covenants |  |  |  |
| 9.03 | Name, address and telephone numbers: solicitor, ground landlord, adjoining owners, etc. |  |  |  |
| 9.04 | Geotechnical Survey and classification |  |  | Departmental Dolomite Risk Manager |
| 9.05 | Is site located on dolomite |  |  | Departmental Dolomite Risk Manager |

10.	Statutory and other approvals

The client should be told of the statutory and other consents to be gained, notices to be served, awards to be made and related expenses such as adjoining owners/surveyor fees, own architect’s fees for special negotiations, etc.

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 10.01 | Town and Country Planning Acts |  |  |  |
| 10.02 | Provincial Fine Arts Commission / Heritage |  |  |  |
| 10.03 | Building Acts and Byelaws |  |  |  |
| 10.04 | Public Health Acts |  |  |  |
| 10.05 | Fire Regulations |  |  |  |
| 10.06 | Factories Act, etc. |  |  |  |
|  | Others |  |  |  |
| 10.07 | Landlord, lessor, etc. and their architects and surveyors |  |  |  |
| 10.08 | Adjoining owners |  |  |  |
| 10.09 | Insurance companies, etc. |  |  |  |

11.	Other architects

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 11.01 | The names and addresses of other architects who have worked or been instructed to work on the scheme and who must be notified of Professional Conduct. |  |  |  |

PRM007/6

12.	Other information

NAME..................................... DATE....................................

PRM007/7

LOCAL INFORMATION CHECK LIST

1.	Neighbouring owners	WCS    ....................

Check and consult documents, drawings, people regarding:

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 1.01 | Access to site |  |  |  |
| 1.02 | Right of light and air |  |  |  |
| 1.03 | Noise |  |  |  |
| 1.04 | Smells |  |  |  |
| 1.05 | Fire risks |  |  |  |
| 1.06 | Drainage |  |  |  |
| 1.07 | Services |  |  |  |
| 1.08 | Right of support |  |  |  |
| 1.09 | Possibility of flooding |  |  |  |
| 1.10 | Conflicting interests |  |  |  |
| 1.11 | Condition of adjacent property |  |  | Photographs? |
| 1.12 | Dolomite |  |  |  |

2.	Civil engineering contractors and building contractors

Obtain:

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 2.01 | Information relating to adjacent sites |  |  |  |
| 2.02 | Information relating to earlier use of site |  |  |  |
| 2.03 | Details of local materials |  |  |  |
| 2.04 | Details of sub-soil conditions to be anticipated (Initiate engineering geological investigation in terms of current practice if site is located on dolomite. Please note this investigation is not a standard foundation investigation) |  |  |  |
| 2.05 | Names and addresses of local suppliers of aggregates, hardcore, premix concrete etc. and approved laboratories. |  |  |  |

REMARKS:

PRM007/8

3.	Suppliers

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 3.01 | Check on quality, availability and cost of local material |  |  |  |
| 3.02 | Inspect quarries, brickwork, etc., for samples and prices |  |  |  |

4.	Local facilities

Check with appropriate authorities, present and future availability of:

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 4.01 | Transport |  |  |  |
| 4.02 | Schools |  |  |  |
| 4.03 | Shops |  |  |  |
| 4.05 | Other local facilities |  |  |  |
| 4.06 | Parking |  |  |  |

5.	Underground hazards

Check with local authority engineer, Spoornet, local Transport or other operator:

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 5.01 | Details of railway or tunnels |  |  |  |
| 5.02 | Details of mineral workings/rights |  |  |  |
| 5.03 | Springs, water table, ground movement, soil conditions |  |  |  |
| 5.04 | Dolomitic land |  |  | Contact Risk Manager |

6.	Climate

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 6.01 | Find out prevailing climatic conditions (wind, rain, etc.) |  |  |  |
| 6.02 | Check if there are any unusual conditions |  |  |  |
| 6.03 | Check on sea air, smoke, fumes, acid rain, corrosion, etc. |  |  |  |

REMARKS:

NAME...................................... DATE..........................................

PRM007/9

SITE AND BUILDING SURVEYS CHECK LIST

1.	Preliminaries	WCS  .............................

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 1.01 | Consider purposes of survey, type of information required including type of drawings, reports, etc., and time allowed |  |  |  |
| 1.02 | Consider employment of qualified land surveyor, air surveyor, photographer, etc., if site is large, obtain client’s approval and consider brief and programme |  |  |  |
| 1.03 | Consider requesting reports from local specialist sub-contractors or local supply companies on existing heating, hot water, electrical, gas or other services installation; obtain client’s approval if necessary and consider brief and programme |  |  |  |
| 1.04 | Check what special fees, expenses, etc., have been agreed with the client |  |  |  |
| 1.05 | Check that client has right of access to site |  |  |  |
| 1.06 | Check accuracy and availability of survey equipment, e.g.: Compass, level, staff sighting rods and makers ladder, chain manhole lifting irons tape, 2m rod survey board scales, camera (Much of this equipment may be hired from surveying and drawing equipment suppliers) |  |  |  |
| 1.07 | Consider appointment with local authority officers including Town Planning, Building Inspector, Public Health, Fire Brigade, etc. |  |  |  |
| 1.08 | Obtain Surveyor sheet or General map and/or Registered Land Plan and establish boundaries, servitudes. |  |  |  |
| 1.09 | Discuss site development with Departmental Dolomite Risk Manager |  |  |  |

REMARKS:

PRM007/10

2.	General: Legal

Obtain from the user Department or his agent:

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 2.01 | Names and address of solicitors/agents |  |  |  |
| 2.02 | Existing drawings |  |  |  |
| 2.03 | Property: leasehold, freehold, if ground rent, tithes or restrictive covenants as to usage, tenure or sale |  |  |  |
| 2.04 | Ownership of fences |  |  |  |
| 2.05 | Rateable values |  |  |  |
| 2.06 | Insurances and insurance companies |  |  |  |
| 2.07 | Approvals already received |  |  |  |
| 2.08 | Highway rights and road access. |  |  |  |

3.	Building work: Legal

Obtain from local or other statutory authority:

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 3.01 | Names and addresses of officials concerned |  |  |  |
| 3.02 | Town planning: requirements, restrictions and intentions |  |  |  |
| 3.03 | Future developments including new roads and widening |  |  |  |
| 3.04 | Building surveyor: obtain copy of local special byelaws if any |  |  |  |
| 3.05 | Copy of ordnance block plan |  |  |  |
| 3.06 | Submission requirements and forms and last date each month for submitting applications |  |  |  |
| 3.07 | Record plans for foundations, etc. |  |  |  |
| 3.08 | Building lines or restrictions |  |  |  |
| 3.09 | Possible road charges and liabilities |  |  |  |
| 3.10 | Small Holdings Act, etc. |  |  |  |
| 3.11 | Restrictions under Clean Air Act |  |  |  |
| 3.12 | Ancient monuments or scheduled historic buildings |  |  |  |
| 3.13 | Housing unit limitations |  |  |  |
| 3.14 | See Departmental Standards for development on Dolomitic Land. Obtain |  |  |  |

PRM007/11

|  | similar applicable standards from the Local Authority. |  |  |  |
| --- | --- | --- | --- | --- |

REMARKS:

4.	Services:

Obtain from local authority or public utilities

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 4.01 | Names and addresses of officials concerned |  |  |  |
| 4.02 | Foul sewer: line and invert levels |  |  |  |
| 4.03 | Surface water sewer: line and invert levels (stormwater). |  |  |  |
| 4.04 | Existing septic tanks and if emptied by the local authority |  |  |  |
| 4.05 | Future drainage schemes by the local authority: possible future connections and charges |  |  |  |
| 4.06 | Water supply |  |  |  |
| 4.07 | Electricity supply: voltage, capacity, AC or DC |  |  |  |
| 4.08 | Gas supply |  |  |  |
| 4.09 | Telephone service |  |  |  |
| 4.10 | Postal services |  |  |  |

5.	Local enquiries:

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 5.01 | Present or future existence of undesirable features in proximity of site, e.g. sewage works, tanneries, aerodromes, dairies, railway sidings, rivers, ponds etc., liable to overflow or flooding on or near site |  |  |  |
| 5.02 | Age of property |  |  |  |
| 5.03 | Adequacy of local facilities, e.g. transport, schools, shops, post |  |  |  |
| 5.04 | Names of reliable local builders |  |  |  |
| 5.05 | Special materials available locally |  |  |  |

PRM007/12

REMARKS:

6.	Underground hazards

| No | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 6.01 | Mineral workings |  |  |  |
| 6.02 | Railway or tube/tunnels |  |  |  |
| 6.03 | Springs |  |  |  |
| 6.04 | Level of water table |  |  |  |
| 6.05 | Ground movement or erosion |  |  |  |
| 6.06Dolomite |  |  |  |  |

7.	Adjoining properties

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 7.01 | General character, condition and usage |  |  |  |
| 7.02 | Rights of air and light |  |  |  |
| 7.03 | Conflicting interests |  |  |  |
| 7.04 | Subsidence evidence |  |  |  |

8.	Actual site

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 8.01 | Orientation |  |  |  |
| 8.02 | Prevailing wind |  |  |  |
| 8.03 | Local climatic or other hazards, e.g. sea air, smoke, fumes |  |  |  |
| 8.04 | Views from and on to site |  |  |  |

PRM007/13

| 8.05 | Trees: species, height, girth and condition |  |  |  |
| --- | --- | --- | --- | --- |
| 8.06 | Rock outcrops, gardens, pons |  |  |  |
| 8.07 | Soil, sub-soil, trail holes |  |  |  |
| 8.08 | Evidence of flooding or ground movement |  |  |  |
| 8.09 | Fences, gates, boundary/and retaining walls, ownership, condition |  |  |  |
| 8.10 | Building lines |  |  |  |
| 8.11 | Paths, roads, pavings |  |  |  |
| 8.12 | Existing buildings: position and floor levels, obvious failures of materials or construction |  |  |  |
| 8.13 | Levels and sections reduced to ordnance datum by relation to bench mark |  |  |  |
| 8.14 | Position and description of bench marks or other datum points |  |  |  |
| 8.15 | Septic tanks |  |  |  |
| 8.16 | Manholes: invert and cover levels |  |  |  |
| 8.17 | Gullies |  |  |  |
| 8.18 | Stopcocks |  |  |  |
| 8.19 | Hydrants |  |  |  |
| 8.20 | Overhead wires |  |  |  |
| 8.21 | External lighting |  |  |  |
| 8.22 | Consecrated ground (Graves, etc.) |  |  |  |

REMARKS:

NAME........................................ DATE....................................

PRM007/14

9.	Buildings: Construction general

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 9.01 | - roof - construction, covering, pitch - roof lights, hatches - chimneys: flues, evidence of smoke or leaks in roof space, headroom - rainwater disposal, pipes, gutters, heads - flashing - aerials, wires - access on to roof and into roof space |  |  |  |
| 9.02 | Walls: - construction: e.g. bond, gauge, type of brick - finishes, rendering, pointing - DPCs - flashing, coping - air bricks - windows, sills, lintels - doors, sills, lentils - pre-fabricated - other |  |  |  |
| 9.03 | Basements: - level of floor below ground - ventilation - damp proofing - drainage etc. - fire protection |  |  |  |
| 9.04 | Floors: - construction: for timber floors; direction of joists, beams. Trimmers, details of other types of floor construction - sleeper walls - DPCs - air bricks |  |  |  |
| 9.05 | Stairs: - construction - floor to floor height - number of risers - hand rails |  |  |  |

PRM007/15

10.	Buildings: Room by room

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 10.01 | Floor including skirting |  |  |  |
| 10.02 | Walls including dado rail, cornice, air bricks |  |  |  |
| 10.03 | Ceiling |  |  |  |
| 10.04 | Doors including frame, architrave and ironmongery |  |  |  |
| 10.05 | Electrical including fittings, sockets, switches |  |  |  |
| 10.06 | Heating and ventilation including radiators, valves, grilles, cookers, stoves, fireplaces |  |  |  |
| 10.07 | Sanitary fittings including baths, Lbs, WCS and cisterns, bidets, sinks, pipes, taps, internal manholes |  |  |  |
| 10.08 | Joinery fittings including cupboards, shelving, benches |  |  |  |
| 10.09 | Miscellaneous |  |  |  |

REMARKS:

PRM007/16

11.	Buildings: Water supply

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 11.01 | Stopcocks: main supply and point of entry (Brass, chrome plated, PVC, etc.) |  |  | DZB |
| 11.02 | Drain cocks |  |  |  |
| 11.03 | Piping |  |  |  |
| 11.04 | Circuits and external water points |  |  |  |
| 11.05 | Insulation |  |  |  |
| 11.06 | Cisterns, size supports, insulation access |  |  |  |
| 11.07 | All sanitary fittings and services, including taps, traps, puff pipes, wastes |  |  |  |
| 11.08 | Shower floor and fittings/walls |  |  |  |
| 11.09 | Adequacy and type of supply, pressure hardness, need for analysis, e.g. well water, lead pipes carrying soft water, wells, springs, underground or under-floor storage tanks, pumps or rams |  |  |  |

12.	Buildings: Drainage

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 12.01 | Surface water: record plan, levels, disposal means |  |  |  |
| 12.02 | Sewage: record plan, levels, disposal means, if combined system or otherwise |  |  |  |
| 12.03 | Manholes: invert and cover levels |  |  |  |
| 12.04 | Gullies, vent pipes, fresh air inlets, interceptors, grease traps, pumps (test pipes and manholes by water test) |  |  |  |

REMARKS:

PRM007/17

13.	Buildings: Hot water

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 13.01 | Systems |  |  |  |
| 13.02 | Piping |  |  |  |
| 13.03 | Circuit |  |  |  |
| 13.04 | Drain cocks |  |  |  |
| 13.05 | Cylinder |  |  |  |
| 13.06 | Insulation |  |  |  |
| 13.07 | Boiler and flue |  |  |  |
| 13.08 | Safety valve, thermometer, thermostat |  |  |  |
| 13.09 | Fuel and storage |  |  |  |
| 13.10 | Efficiency test and/or report from local specialist if necessary |  |  |  |
| 13.11 | Running costs |  |  |  |

14. 	Building: Heating and ventilation

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 14.01 | System |  |  |  |
| 14.02 | Fittings, radiators, convectors, grilles, fans, filters, diffusers etc. |  |  |  |
| 14.03 | Piping |  |  |  |
| 14.04 | Circuits |  |  |  |
| 14.05 | Drain cocks |  |  |  |
| 14.06 | Expansion tank |  |  |  |
| 14.07 | Insulation |  |  |  |
| 14.08 | Boiler and flue |  |  |  |
| 14.09 | Safety valve, thermometer, thermostat, altitude gauges, fusible links, controls, pumps |  |  |  |
| 14.10 | Fuel and storage |  |  |  |
| 14.11 | Efficiency test and/or report from local specialist inf necessary |  |  |  |
| 14.12 | Running costs |  |  |  |
| 14.13 | Refrigeration |  |  |  |

PRM007/18

REMARKS:

15.	Building: Electrical

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 15.01 | Overhead or underground |  |  |  |
| 15.02 | Plot poles, wires or cable on survey |  |  |  |
| 15.03 | Metres and main switch gear, phasing, voltage, current, AC or DC, Watts. |  |  |  |
| 15.04 | Wiring external and internal |  |  |  |
| 15.05 | System, conduits and earthing |  |  |  |
| 15.06 | Distribution boards |  |  |  |
| 15.07 | Light points and voltage including external lighting |  |  |  |
| 15.08 | Special fittings: fans, cooker panels, low voltage transformers, bell system |  |  |  |
| 15.09 | Test and report by local supply company if necessary with advice on size and adequacy of main cable for future loading |  |  |  |

16.	Buildings: Gas

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 16.01 | Main size, depth and position |  |  |  |
| 16.02 | Metres: adequacy for future requirements |  |  |  |
| 16.03 | Points and fittings, flue, hoods, etc. |  |  |  |
| 16.04 | Test and report by local supply company if necessary with advice on size and adequacy of main supply for future loading |  |  |  |
| 16.05 | Gas banks and types |  |  |  |

PRM007/19

REMARKS:

17.	Building: Other services

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 17.01 | Telephone: overhead wires (plot poles on survey) |  |  |  |
| 17.02 | Lighting precautions and conductors |  |  |  |
| 17.03 | Steam |  |  |  |
| 17.04 | Compressed air |  |  |  |
| 17.05 | Standby electricity engines or batteries |  |  |  |
| 17.06 | Public address system |  |  |  |
| 17.07 | Lifts: hydraulic, electric or hand |  |  |  |
| 17.08 | Refrigeration |  |  |  |
| 17.09 | Escalators |  |  |  |
| 17.10 | Pneumatic tubes |  |  |  |
| 17.11 | Central vacuum |  |  |  |
| 17.12 | Closed circuit television, etc. |  |  |  |

18.	Buildings: Structural defects

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 18.01 | Dry tor and causes |  |  |  |
| 18.02 | Damp patches and causes |  |  |  |
| 18.03 | Evidence of rodents, woodworm, beetle (death-watch, Lyctus, etc.), insects |  |  |  |
| 18.04 | Recent repairs and decorations |  |  |  |
| 18.05 | Settlement cracks or misshapen openings, skirting or window gaps |  |  |  |
| 18.06 | Bulges in walls, walls out of plumb |  |  |  |

PRM007/20

| 18.07 | Sagging roofs |  |  |  |
| --- | --- | --- | --- | --- |
| 18.08 | Floors |  |  |  |
| 18.09 | Deflection on beams, lintels, etc. |  |  |  |
| 18.10 | Cracks at beam bearings |  |  |  |
| 18.11 | Smells |  |  |  |
| 18.12 | Condition of basements |  |  |  |

REMARKS:

19.	Buildings: Specialist fittings

| No. | Description | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 19.01 | Altars, vestment presses, tabernacles |  |  |  |
| 19.02 | Engine pits, beds, ducts |  |  |  |
| 19.03 | Fire equipment: sprinklers, foam hydrants, etc., illuminated and other fire signs, hoses, extinguishers, locks, door closes, fire doors |  |  |  |
| 19.04 | Emergency lighting |  |  |  |
| 19.05 | Fire escapes |  |  |  |
| 19.06 | Fire routes |  |  |  |
| 19.07 | Stair cases |  |  |  |

20.	Buildings: reports

The architect or surveyor should carefully define in his report whether or not he was able to see inside the structure of a building. If able to do so, describe exactly how much he was able to see and where. The condition of the rest of the building should not be inferred from the sight of one piece of it. Back up with photographs, and/or drawings/diagrams.

A statement in terms stipulated the indemnity insurance policy, or similar to the following wording should be included at the end of the relevant section of the report, if required:

“It was not possible to make a detailed examination of either the floor or roof construction except at the positions described above, as to do so would have required material damage being done to obtain access. It is, therefore, impossible to make any statement on the condition of the un-examined structure”.

Where applicable, it should be advised to call in a specialist in rot, woodworm, etc., to make a more detailed examination

PRM007/21

OTHER REMARKS:

NAME................................ DATE.............................