PRM016/1	Prm016

DEPARTMENT OF PUBLIC WORKS

COMPOSITION OF CONTRACT

|  |  |  | WCS. NO: |  |
| --- | --- | --- | --- | --- |
|  |  |  | REFERENCE NO : |  |
| PROJECT: |  |  |  |  |

| ITEM |  | NATURE OF CONTRACT |
| --- | --- | --- |
| Building: |  | Comprehensive |
| Civil: | Structural | Comprehensive |
|  | Water treatment | Comprehensive Eng contract |
|  | Sewerage works | Comprehensive Eng contract |
|  | Roads and/or stormwater | Comprehensive Eng contract |
| Electrical: | Electrical installation | Comprehensive (Part A) |
|  | Lift/escalator | Either nominated sub contract / Comprehensive |
|  | Uninterrupted power supply (UPS) | Direct (A / C in Battery Room) |
|  | Emergency generator | Comprehensive |
|  | High voltage installation | Engineering contract |
|  | Communications/Call system | Comprehensive |
|  | Security lighting/Alarm system | Comprehensive |
|  | Transformer / High tension gear | Comprehensive |
|  | Access control/Metal detectors | Comprehensive / Direct |
|  | Other |  |
| Mechanical: | Air conditioning | Comprehensive |
|  | Ventilation system | Part of A / C |
|  | Overhead crane / gantry | Nominated / Comprehensive |
|  | Fire detection system | Comprehensive |
|  | Fire extinguishing system (gas) | Comprehensive |
|  | Sprinkler system | Comprehensive |
|  | Freezer and cold rooms | Part of A / C |
|  | Compressed air / Vacuum / Gas | Comprehensive |
|  | Acoustics | Comprehensive |
|  | Kitchen equipment | Comprehensive |
|  | Steam plant | Comprehensive Eng contract |
|  | Other |  |
| Landscape: |  | Comprehensive |
| Other: |  |  |

PRM016/1

Note:

1	Entrance control through metal detection or X-ray scanning can either be a nominated sub-contract or direct, depending on the installation.

2	Electrical and mechanical installations being part of the main contract to be measured by Quantity Surveyor.

3	Where items above are indicated as comprehensive, the Bill of Quantities may be divided into sections, e.g. Section A: electrical, etc.

4	Please be sure to prescribe in Bill of Quantities what measures of approval / testing is required in terms of the Occupational, Health and Safety Act (1993) Act 83 of 1993 / maintenance contracts / operating manuals and training.

5	Please take note that there may be exceptions.

| DATE |  | PROJECT MANAGER |
| --- | --- | --- |

PRM016/2

DEPARTMENT OF PUBLIC WORKS

SKETCH PLAN CHECK LIST

| PROJECT: |  | WCS NO : |  |  |
| --- | --- | --- | --- | --- |
|  |  | REFERENCE NO: |  |  |

To be completed by the Private Architect

Indicate in box next to EACH item whether provided  or not applicable

1. 	SITE PLAN					3.	ACCOMMODATION

1.1	Site dimension..............................................	        	3.1	Comparative schedule of rooms required

1.2	Building line setbacks...................................	        		and provided with areas................................................

1.3	Contours at suitable intervals and spot			4. 	ELEVATIONS

levels of pavements and floors ..............................	        	4.1	General architectural treatment ...................................

1.4	North point .....................................................	        	4.2	Principal materials .......................................................

1.5	Prevailing winds .............................................	        	5.	SECTIONS

1.6	Street names .................................................	____	5.1	Dimensioned floor to floor and floor to ceiling

1.7	Type of existing and proposed-					heights.........................................................................

1.7.1 boundary fences, walls and gates.........	        	5.2	 Floor levels and adjacent natural and formed

1.7.2 retaining walls........................................	       		ground levels, showing excavation and filling..............

1.8	Existing buildings on adjoining sites likely			5.3	Roof slopes and type of construction and

1.9	to affect the design of new buildings...............	       		Consideration given to-covering...................................

1.9.1 rights of adjoining owners......................	       	5.4	Material and finish of walls...........................................

1.9.2 need for lateral support, etc....................	       	6.	CONSULTATIONS : Has the scheme been

1.10 	Existing buildings on site to be -				discussed with :

1.10.1 retained ................................................	       	6.1	Specialist Department...................................................

1	.10.2 demolished.............................................	       	6.2	User Department...........................................................

1.11	Trees to be removed or retained......................	       	6.3	Divisional Engineer, Telkom, for telephone

1.12	Natural water courses with flood lines and				requirements..................................................................

levels............................................................	       	6.4	Local Authority for -

1.13	Servitudes and Departmentally owned				services..........................................................................

service mains which -					town-planning requirements...........................................

1.13.1 cannot be disturbed..........................	       	6.5	Quantity Surveyor for costs............................................

1.13.2 need to be diverted...........................	       		Consultant and/or Departmental Specialist

1.14	New buildings...............................................	       	6.6	Structural........................................................................

1.15	Site terracing, with treatment of banks........ 	       	6.7	Civil Works for -

1.16	Site terracing, with treatment of banks-				roads, drainage and stormwater.......................................

grassed, stone pitched, concrete retaining			6.8	Mechanical, for -

walls, etc. ....................................................	       		fire service........................................................................

1.17	Roads, paths and paving with finishes-				heating, ventilating, and air-conditioning

gravel, tarmac, concrete etc. ......................	       		mechanical plant/equipment............................................

1.18	Positions and depths of connection points			6.9	Electrical Emergency Generators for lifts........................

of sewer, stormwater drain, water and fire			6.10	Chemical Technology: Process design of water

service..........................................................	       		and sewerage treatment facilities....................................

1.19	Dolomiterisk zonation………………………..	       	6.11	Dolomite Risk Manager………….....................................

2.	BUILDING PLANS					7.	GENERAL

2.1	Overall dimensions of new work..................	       	7.1	Any other information likely to affect the

2.2	Treatment at junction of new and old work..	       		Estimate (state) (Items 1 to 6):

2.3	Structural column grid..................................	       		.................................................................................................

2.4	Room dimensions and areas (toilets				.................................................................................................

excepted) and corridor widths......................	       		.................................................................................................

2.5	Engineering service rooms and ducts..........	       		.................................................................................................

2.6	Position of sanitary and other fittings...........	       		.................................................................................................

2.7	Floor finishes................................................	       		.................................................................................................

Prm016/2

| 8. | CERTIFICATE BY PRIVATE ARCHITECT |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | The Department's instructions given in the letter of appointment, the "Architects' Manual", with annexures, and the items on this Check List and the "Schedule of Construction and Finishes, etc." have been studied by me/us and, where applicable, complied with items which have not been complied with, or for which alternative proposals are made, are as follows : |  |  |  |  |
|  | PRIVATE ARCHITECT / PRINCIPAL AGENT |  |  | DATE |  |
| 9. | Approval by departmental PROJECT MANAGER: |  |  |  |  |
|  | PROJECT MANAGER |  |  |  | DATE |
| 10. | REMARKS BY CLIENT / USER: |  |  |  |  |
|  | CLIENT/USER REPRESENTATIVE |  |  | DATE |  |