QS 003
[image: image1.png]w publlc works




PRELIMINARIES

FOR INCLUSION IN
BILLS OF QUANTITIES AND 

LUMP SUM DOCUMENTS
BASED ON THE
JBCC SERIES 2000 DOCUMENTATION
JUNE 2008
NOTES TO CONSULTANT QUANTITY SURVEYORS / PROJECT MANAGERS
PRELIMINARIES

The attached pro-forma Preliminaries which are to be inserted in the Bills of Quantities / Lump Sum Document, are to be dealt with as follows:

Section A

Section A lists the clauses of and refers directly to the JBCC Principal Building Agreement. Certain clauses have been modified by the Department and must be inserted unaltered into the Bills of Quantities / Lump Sum Document
The Consultant Quantity Surveyor / Project Manager must ensure that the clauses that have been modified by the Department in this section are identical to those reflected in clause 42.4.7 of the Schedule of Contract Variables (Contract Data DPW-04EC)

The Schedule of Contract Variables (Contract Data DPW-04EC) also requires the insertion of additional information pertinent to the contract

Section B

Section B lists the clauses of and refers directly to the JBCC Preliminaries
The Schedule of Variables requires the insertion of additional information pertinent to the contract

Section C

Section C contains specific preliminary items. All items must be scrutinized and any item which is not appropriate must be marked N/A (Not Applicable)

Any new items which may be necessary for a particular service must be inserted at the end of Section C

	
	SECTION 1

PRELIMINARIES

	
	

	
	MEANING OF TERMS “TENDER / TENDERER”
	
	

	
	Any reference to the words “Tender" or "Tenderer" herein and/or in any other documentation shall be construed to have the same meaning as the words "Bid" or "Bidder"


	
	

	
	PRELIMINARIES
	
	

	
	The JBCC Preliminaries Code 2103, May 2005 edition for use with the JBCC Principal Building Agreement Edition 4.1 Code 2101, March 2005 is taken to be incorporated herein.  The tenderer is deemed to have referred to these documents for the full intent and meaning of each clause.  These clauses are referred to by number and heading only.  Where standard clauses or options are not applicable to the contract such modifications or corrections as are necessary are given under each relevant clause. Where an item is not relevant to this specific contract such item is marked "N/A" signifying "Not Applicable"

	
	

	
	PRICING OF PRELIMINARIES

Should Option A, as set out in clause B10.3.1 hereinafter be used for the adjustment of preliminaries then each item priced is to be allocated to one or more of the three categories Fixed, Value Related or Time Related and the respective amounts entered in the spaces provided under each item


	
	

	
	Items not priced in these Preliminaries shall be deemed to be included elsewhere in these Bills of Quantities

	
	

	
	SECTION A: JBCC PRINCIPAL BUILDING AGREEMENT
	
	

	
	DEFINITIONS
	
	

	A1.0
	DEFINITIONS AND INTERPRETATION


	
	

	
	Clause 1.0
	
	

	
	Clause 1.1 Definition of “Commencement Date” is added:
	
	

	
	“COMMENCEMENT DATE” means the date that the agreement, made in terms of the Form of Offer and Acceptance, comes into effect


	
	

	
	Clause 1.1 Definition of “Construction Guarantee” is amended by replacing it with the following:


	
	

	
	“CONSTRUCTION GUARANTEE” means a guarantee at call obtained by the contractor from an institution approved by the employer in terms of the employer’s construction guarantee form as selected in the schedule

	
	

	
	Clause 1.1 Definition of “Construction Period” is amended by replacing it with the following:
	
	

	
	“CONSTRUCTION PERIOD” means the period commencing on the commencement date and ending on the date of practical completion


	
	

	
	Clause 1.1 Definition of “Corrupt Practice” is added:
	
	

	
	“CORRUPT PRACTICE” means the offering, giving, receiving or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution.


	
	

	
	Clause 1.1 Definition of “Fraudulent Practice” is added:

	
	

	
	“FRAUDULENT PRACTICE” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of any tenderer and includes collusive practice among tenderers (prior to or after the tender submission) designed to establish tender prices at artificial non-competitive levels and to deprive the tenderer of the benefits of free and open competition

	
	

	
	Clause 1.1 Definition of "Interest" is amended by replacing it with the following:


	
	

	
	“INTEREST” means the interest rates applicable on this contract, whether specifically indicated in the relevant clauses or not, will be the rate as determined by the Minister of Finance, from time to time, in terms of section 80(1)(b) of the Public Finance Management Act, 1999 (Act No. 1 of 1999)

	
	

	
	Clause 1.1 Definition of “Principal Agent” is amended by replacing it with the following:
	
	

	
	“PRINCIPAL AGENT” means the person or entity appointed by the employer and named in the schedule. In the event of a principal agent not being appointed, then all the duties and obligations of a principal agent as detailed in the agreement shall be fulfilled by a representative of the employer as named in the schedule

	
	

	
	Clause 1.1 Definition of “Security” is amended by replacing it with the following:
	
	

	
	“SECURITY” means the form of security provided by the employer or contractor, as stated in the schedule, from which the contractor or employer may recover expense or loss


	
	

	
	Clause 1.6 is amended by replacing the words “prepaid registered post, telefax or e-mail” with “prepaid registered post or telefax”

	
	

	
	Clause 1.6.4 is amended by replacing it with the following:
	
	

	
	No clause


	
	

	
	Fixed:____________ Value related:____________ Time related:____________  
Item


	
	

	
	OBJECTIVE AND PREPARATION
	
	

	A2.0
	OFFER, ACCEPTANCE AND PERFORMANCE


	
	

	
	Clause 2.0
	
	

	
	Fixed:____________ Value related:____________ Time related:____________  
Item


	
	

	A3.0
	DOCUMENTS
	
	

	
	Clause 3.0

Clause 3.2.1 is amended by replacing “14.1” with “14.0”

Clause 3.7 is amended by the addition of the following:

The contractor shall supply and keep a copy of the JBCC Series 2000 Principal Building Agreement and Preliminaries applicable to this contract on the site, to which the employer, principal agent and agents shall have access at all times


	
	

	
	Clause 3.10 is amended by replacing the second  reference to “principal agent” with the word “employer”


	
	

	
	Fixed:____________ Value related:____________ Time related:____________  
Item


	
	

	A4.0
	DESIGN RESPONSIBILITY


	
	

	
	Clause 4.0


	
	

	
	Clause 4.3 is amended by replacing it with the following:
	
	

	
	No clause
	
	

	
	Fixed:____________ Value related:____________ Time related:____________  
Item
	
	

	A5.0
	EMPLOYER’S AGENTS


	
	

	
	Clause 5.0
	
	

	
	Clause 5.1.2 is amended to include clauses 32.6.3, 34.3, 34.4 and 38.5.8

	
	

	
	Fixed:____________ Value related:____________ Time related:____________  
Item


	
	

	A6.0
	SITE REPRESENTATIVE


	
	

	
	Clause 6.0
	
	

	
	Fixed:____________ Value related:____________ Time related:____________  
Item


	
	

	A7.0
	COMPLIANCE WITH REGULATIONS


	
	

	
	Clause 7.0


	
	

	
	Note: A separate clause has been included in Section C: Specific Preliminaries of the bills of quantities / lump sum document for the contractor to have the opportunity to price for all the requirements of the Occupational Health and Safety Act, Construction Regulations and Health and Safety Specification
	
	

	
	
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item

	
	

	A8.0
	WORKS RISK


	
	

	
	Clause 8.0

	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	A9.0
	INDEMNITIES


	
	

	
	Clause 9.0


	
	

	
	Fixed:____________ Value related:____________ Time related:____________  
Item


	
	

	A10.0
	WORKS INSURANCES


	
	

	
	Clause 10.0
	
	

	
	Clause 10.0 is amended by the addition of the following clauses:
	
	

	
	10.5  Damage to the Works
	
	

	
	(a) Without in any way limiting the contractor’s obligations in terms of the contract, the contractor shall bear the full risk of damage to and/or destruction of the works by whatever cause during construction of the works and hereby indemnifies and holds harmless the employer against any such damage. The contractor shall take such precautions and security measures and other steps for the protection and security of the works as the contractor may deem necessary


	
	

	
	(b) The contractor shall at all times proceed immediately to remove or dispose of any debris arising from damage to or destruction of the works and to rebuild, restore, replace and/or repair the works


	
	

	
	(c) The employer shall carry the risk of damage to or destruction of the works and materials paid for by the employer that is the result of the excepted risks as set out in 10.6


	
	

	
	(d) Where the employer bears the risk in terms of this contract, the contractor shall, if requested to do so, reinstate any damage or destroyed portions of the works and the costs of such reinstatement shall be measured and valued in terms of 32.0 hereof


	
	

	
	10.6 Injury to Persons or loss of or damage to Properties
	
	

	
	(a) The contractor shall be liable for and hereby indemnifies the employer against any liability, loss, claim or proceeding whether arising in common law or by statute, consequent upon personal injuries to or the death of any person whomsoever arising out of or in the course of or caused by the execution of the works unless due to any act or negligence of any person for whose actions the employer is legally liable


	
	

	
	(b) The contractor shall be liable for and hereby indemnifies the employer against any liability, loss, claim or proceeding consequent upon loss of or damage to any moveable or immovable or personal property or property contiguous to the site, whether belonging to or under the control of the employer or any other body or person, arising out of or in the course of or by reason of the execution of the works unless due to any act or negligence of any person for whose actions the employer is legally liable


	
	

	
	(c) The contractor shall, upon receiving a contract instruction from the principal agent, cause the same to be made good in a perfect and workmanlike manner at his own cost and in default thereof the employer shall be entitled to cause it to be made good and to recover the cost thereof from the contractor or to deduct the same from amounts due to the contractor


	
	

	
	(d) The contractor shall be responsible for the protection and safety of such portions of the premises placed under his control by the employer for the purpose of executing the works until the issue of the certificate of practical completion

	
	

	
	(e) Where the execution of the works involves the risk of removal of or interference with support to adjoining properties including land or structures or any structures to be altered or added to, the contractor shall obtain adequate insurance and will remain adequately insured or insured to the specific limit stated in the contract against the death of or injury to persons or damage to such property consequent on such removal or interference with the support until such portion of the works has been completed


	
	

	
	(f) The contractor shall at all times proceed immediately at his own cost to remove or dispose of any debris and to rebuild, restore, replace and/or repair such property and to execute the works

	
	

	
	10.7 High risk insurance
	
	

	
	In the event of the project being executed in a geological area classified as a “High Risk Area”, that is an area which is subject to highly unstable subsurface conditions that might result in catastrophic ground movement evident by sinkhole or doline formation the following will apply:


	
	

	
	10.7.1 Damage to the works
	
	

	
	The contractor shall, from the commencement date of the works until the date of the certificate of practical completion bear the full risk of and hereby indemnifies and holds harmless the employer against any damage to and/or destruction of the works consequent upon a catastrophic ground movement as mentioned above. The contractor shall take such precautions and security measures and other steps for the protection of the works as he may deem necessary


	
	

	
	When so instructed to do so by the principal agent, the contractor shall proceed immediately to remove and/or dispose of any debris arising from damage to or destruction of the works and to rebuild, restore, replace and/or repair the works, at the contractor’s own costs


	
	

	
	10.7.2 Injury to persons or loss of or damage to property
	
	

	
	The contractor shall be liable for and hereby indemnifies and holds harmless the employer against any liability, loss, claim or proceeding arising at any time during the period of the contract whether arising in common law or by statute, consequent upon personal injuries to or the death of any person whomsoever resulting from, arising out of, or caused by a catastrophic ground movement as mentioned above


	
	

	
	The contractor shall be liable for and hereby indemnifies the employer against any and all liability, loss, claim or proceeding consequent upon loss of or damage to any moveable or immovable or personal property or property contiguous to the site, whether belonging to or under the control of the employer or any other body or person whomsoever arising out of or caused by a catastrophic ground movement, as mentioned above, which occurred during the period of the contract


	
	

	
	10.7.3 It is the responsibility of the contractor to ensure that he has adequate insurance to cover his risk and liability as mentioned in 10.7.1 and 10.7.2. Without limiting the contractor’s obligations in terms of the contract, the contractor shall, within twenty-one (21) calendar days of the commencement date but before commencement of the works, submit to the employer proof of such insurance policy, if requested to do so

	
	

	
	10.7.4 The employer shall be entitled to recover any and all losses and/or damages of whatever nature suffered or incurred consequent upon the contractor’s default of his obligations as set out in 10.7.1; 10.7.2 and 10.7.3. Such losses or damages may be recovered from the contractor or by deducting the same from any amounts still due under this contract or under any other contract presently or hereafter existing between the employer and the contractor and for this purpose all these contracts shall be considered one indivisible whole


	
	

	
	Fixed:____________ Value related:____________ Time related:____________  
Item
	
	

	A11.0
	LIABILITY INSURANCES
	
	

	
	Clause 11.0
	
	

	
	Fixed:____________ Value related:____________ Time related:____________  
Item
	
	

	A12.0
	EFFECTING INSURANCES
	
	

	
	Clause 12.0
	
	

	
	Fixed:____________ Value related:____________ Time related:____________  
Item
	
	

	A13.0
	No clause
	
	

	A14.0
	SECURITY
	
	

	
	Clause 14.0
	
	

	
	Clauses 14.1 - 14.8 are amended by replacing them with the following:


	
	

	
	14.1 In respect of contracts with a contract sum up to R1 million, the security  to be provided by the  contractor to the employer will be a payment  reduction of five per cent (5%) of the value certified in the payment  certificate (excluding VAT)

 
	
	

	
	14.1.1 The payment reduction of the value certified in a payment certificate shall be mutatis mutandi in terms of 31.8(A)


	
	

	
	14.1.2 The employer shall be entitled to recover expense and loss from the  payment reduction  in terms of 33.0 provided that the employer complies with the provisions of 33.4 in which event the employer’s entitlement shall take precedence over his obligations to refund the payment reduction security or portions thereof to the contractor 


	
	

	
	14.2 In respect of contracts with a contract sum above R1 million, the  contractor shall have the right to select the security to be provided in terms of 14.3, 14.4, 14.5, 14.6, or 14.7 as stated in the schedule.  Such security shall be provided to the employer within twenty-one    (21) calendar days from commencement date. Should the contractor fail to select the security to be provided or should the contractor fail to provide the employer with the selected security within twenty-one (21) calendar days from commencement date, the security in terms of 14.7 shall be deemed to have been selected

	
	

	
	14.3 Where security as a cash deposit of ten per cent (10%) of the contract sum (excluding VAT) has been selected:


	
	

	
	14.3.1 The contractor shall furnish the employer with a cash deposit equal in value to ten per cent (10%) of the contract sum (excluding VAT) within  twenty-one (21) calendar days from commencement date

	
	

	
	14.3.2 Within twenty-one (21)  calendar days of the date of practical completion of the works the employer shall reduce the cash deposit to an amount equal to three per cent (3%) of the contract value (excluding VAT),  and refund the balance to the contractor

	
	

	
	14.3.3 Within twenty-one (21) calendar days of the date of final completion of the works the employer shall reduce the cash deposit to an amount equal to one per cent (1%) of the contract value (excluding VAT) and refund the balance to the contractor

	
	

	
	14.3.4 On the date of payment of the amount in the final payment certificate, the employer shall refund the remainder of the cash deposit to the contractor

	
	

	
	14.3.5 The employer shall be entitled to recover expense and loss from the cash deposit in terms of 33.0 provided that the employer complies with the provisions of 33.4 in which event the employer’s entitlement shall take precedence over his obligations to refund the cash deposit security or portions thereof to the contractor

	
	

	
	 14.3.6 The parties expressly agree that neither the employer nor the contractor shall be entitled to cede the rights to the deposit to any third party 


	
	

	
	14.4 Where security as a variable construction guarantee of ten percent (10%) of the contract sum (excluding VAT) has been selected:


	
	

	
	14.4.1 The contractor shall furnish the employer with an acceptable variable construction guarantee equal in value to ten per cent (10%) of the contract sum (excluding VAT) within twenty-one (21) calendar days from commencement date 


	
	

	
	14.4.2 The variable construction guarantee shall reduce and expire in terms of the Variable Construction Guarantee form included in the invitation to tender


	
	

	
	 14.4.3 The employer shall return the variable construction guarantee to the contractor within fourteen (14) calendar days of it expiring


	
	

	
	14.4.4 Where the employer has a right of recovery against the contractor in terms of 33.0, the employer shall issue a written demand in terms of the  variable construction guarantee

	
	

	
	14.5 Where security as a fixed construction guarantee of five per cent (5%) of the contract sum (excluding VAT) and a five per cent (5%) payment reduction of the value certified in the payment certificate (excluding VAT) has been selected:


	
	

	
	 14.5.1 The contractor shall furnish a fixed construction guarantee to the employer equal in value to five per cent (5%) of the contract sum (excluding VAT)


	
	

	
	14.5.2 The fixed construction guarantee shall come into force on the date of issue and shall expire on the date of the last certificate of practical completion

	
	

	
	14.5.3 The employer shall return the fixed construction guarantee to the contractor within fourteen (14) calendar days of it expiring


	
	

	
	14.5.4 The payment reduction of the value certified in a payment certificate shall be in terms of 31.8 (A) and 34.8


	
	

	
	14.5.5 Where the employer has a right of recovery against the contractor in terms of 33.0, the employer shall be entitled to issue a written demand in terms of the fixed construction guarantee or may recover from the payment reduction or may do both


	
	

	
	14.6 Where security as a cash deposit of five per cent (5%) of the contract sum (excluding VAT) and a payment reduction of five per cent (5%) of the value certified in the payment certificate (excluding VAT) has been selected:


	
	

	
	14.6.1 The contractor shall furnish the employer with a cash deposit equal in value to five per cent (5%) of the contract sum (excluding VAT) within twenty-one (21) calendar days from commencement date 


	
	

	
	14.6.2 Within twenty-one (21) calendar days of the date of practical completion of the works the employer shall refund the cash deposit in total to the contractor

	
	

	
	14.6.3 The payment reduction of the value certified in a payment certificate shall be mutatis mutandi in terms of 31.8(A)


	
	

	
	14.6.4 Where the employer has a right of recovery against the contractor in terms of 33.0, the employer may issue a written notice in terms of 33.4 or may recover from the payment reduction or may do both


	
	

	
	14.7 Where security as a payment reduction of ten per cent (10%) of the value certified in the payment certificate (excluding VAT) has been selected:


	
	

	
	14.7.1 The payment reduction of the value certified in a payment certificate shall be mutatis mutandi in terms of 31.8(B)


	
	

	
	 14.7.2 The employer shall be entitled to recover expense and loss from the payment reduction in terms of 33.0 provided that the employer complies with the provisions of 33.4 in which event the employer’s entitlement shall take precedence over his obligations to refund the payment reduction or portions  thereof to the contractor

	
	

	
	14.8 Payments made by the guarantor to the employer in terms of the fixed or variable construction guarantee shall not prejudice the rights of the employer or contractor in terms of this agreement

	
	

	
	14.9 Should the contractor fail to furnish the security in terms of 14.2, the employer, in his sole discretion and without notification to the contractor, is entitled to change the contractor’s selected form of security to that of a ten per cent (10%) payment reduction of the value certified in the payment certificate (excluding VAT), whereafter 14.7 shall be applicable
	
	

	
	Fixed:____________ Value related:____________ Time related:____________  
Item
	
	

	
	EXECUTION
	
	

	A15.0
	PREPARATION FOR AND EXECUTION OF THE WORKS
	
	

	
	Clause 15.0

Clause 15.1.1 is amended by replacing it with:

No clause

	
	

	
	Clause 15.1.2 is amended by replacing it with:
	
	

	
	The security selected in terms of 14.0
	
	

	
	Clause 15.1 is amended by the addition of the following clause:
	
	

	
	15.1.4 An acceptable health and safety plan, required in terms of the Occupational Health and Safety Act, 1993 (Act 85 of 1993), within twenty-one (21) calendar days of commencement date


	
	

	
	Clause 15.2.1 is amended by replacing it with the following clause:
	
	

	
	Give the contractor possession of the site within ten (10) working days of the contractor complying with the terms of 15.1.4


	
	

	
	Fixed:____________ Value related:____________ Time related:____________  
Item


	
	

	A16.0
	ACCESS TO THE WORKS


	
	

	
	Clause 16.0


	
	

	
	Fixed:____________ Value related:____________ Time related:____________  
Item


	
	

	A17.0
	CONTRACT INSTRUCTIONS


	
	

	
	Clause 17.0


	
	

	
	Clause 17.1.11 is amended by deleting the words “and the appointment of nominated and selected subcontractors”
	
	

	
	Fixed:____________ Value related:____________ Time related:____________  
Item

	
	

	A18.0
	SETTING OUT OF THE WORKS


	
	

	
	Clause 18.0
	
	

	
	Fixed:____________ Value related:____________ Time related:____________  
Item


	
	

	A19.0
	ASSIGNMENT


	
	

	
	Clause 19.0
	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item


	
	

	A20.0
	NOMINATED SUBCONTRACTORS


	
	

	
	Clause 20.0
	
	

	
	Clause 20.1.3 is amended by replacing it with the following:
	
	

	
	No clause
	
	

	
	Note: See item B9.1 hereinafter for adjustment of attendance on nominated subcontractors executing work allowed for under provisional sums


	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item


	
	

	A21.0
	SELECTED SUBCONTRACTORS


	
	

	
	Clause 21.0


	
	

	
	Clause 21 is amended by replacing it with:


	
	

	
	No clause
	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item


	
	

	A22.0
	EMPLOYER’S DIRECT CONTRACTORS


	
	

	
	Clause 22.0


	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item


	
	

	A23.0
	CONTRACTOR’S DOMESTIC SUBCONTRACTORS
	
	

	
	Clause 23.0
	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item
	
	

	
	COMPLETION
	
	

	A24.0
	PRACTICAL COMPLETION
	
	

	
	Clause 24.0
	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item
	
	

	A25.0
	WORKS COMPLETION
	
	

	
	Clause 25.0
	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item
	
	

	A26.0
	FINAL COMPLETION
	
	

	
	Clause 26.0
	
	

	
	Clause 26.1.2 is amended by inserting “#” next to 26.1.2
	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item
	
	

	A27.0
	LATENT DEFECTS LIABILITY PERIOD
	
	

	
	Clause 27.0
	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item
	
	

	A28.0
	SECTIONAL COMPLETION
	
	

	
	Clause 28.0
	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item
	
	

	A29.0
	REVISION OF DATE FOR PRACTICAL COMPLETION
	
	

	
	Clause 29.0
	
	

	
	Clause 29.2.5 is amended by replacing it with:
	
	

	
	No clause
	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item
	
	

	A30.0
	PENALTY FOR NON-COMPLETION
	
	

	
	Clause 30.0
	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item
	
	

	
	PAYMENT
	
	

	A31.0
	INTERIM PAYMENT TO THE CONTRACTOR


	
	

	
	Clause 31.0
	
	

	
	Clause 31.5.2 is amended by replacing “14.7.1” with “14.0”
	
	

	
	Clause 31.8 is amended by replacing it with the following two alternative clauses:


	
	

	
	Alternative A


	
	

	
	31.8(A) Where a security is selected in terms of 14.1; 14.5 or 14.6, the value of the works in terms of 31.4.1 and materials and goods in terms of 31.4.2 shall be certified in full.  The value certified shall be subject to the following percentage adjustments:


	
	

	
	31.8(A).1 Ninety-five per cent (95%) of such value in interim payment certificates issued up to the date of practical completion

	
	

	
	31.8(A).2 Ninety-seven per cent (97%) of such value in interim payment certificates  issued on the date of practical completion and up to but excluding the date of final completion

	
	

	
	31.8(A).3 Ninety-nine per cent (99%) of such value in interim payment certificates issued on the date of final completion and up to but excluding the final payment certificate in terms of 34.6


	
	

	
	 31.8(A).4 One hundred per cent (100%) of such value in the final payment certificate in terms of 34.6 except where the amount certified is in favour of the employer.  In such an event the payment reduction shall remain at the adjustment level applicable to the final payment certificate


	
	

	
	Alternative B


	
	

	
	31.8(B) Where security as a payment reduction in terms of 14.7 has been selected, the value of the works in terms of 31.4.1 and materials and goods in terms of 31.4.2 shall be certified in full.  The value certified shall be subject to the following percentage adjustments:


	
	

	
	31.8(B).1 Ninety per cent (90%) of such value in interim payment certificates issued up to the date of practical completion

	
	

	
	 31.8(B).2 Ninety-seven per cent (97%) of such value in interim payment certificates issued on the date of practical completion and up to but excluding the date of final completion

	
	

	
	31.8(B).3 Ninety-nine per cent (99%) of such value in interim payment certificates issued on the date of final completion and up to but excluding the final payment certificate in terms of 34.6


	
	

	
	31.8(B).4 One hundred per cent (100%) of such value in the final payment certificate in terms of 34.6 except where the amount certified is in favour of the employer.  In such an event the payment reduction shall remain at the adjustment level applicable to the final payment certificate

	
	

	
	Clause 31.12 is amended by deleting the following:


	
	

	
	Payment shall be subject to the employer giving the contractor a tax invoice for the amount due


	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item

	
	

	A32.0
	ADJUSTMENT TO THE CONTRACT VALUE


	
	

	
	Clause 32.0
	
	

	
	Clauses 32.5.1, 32.5.4 and 32.5.7 are amended by the addition of the following at the end of the sentence:

 

"due to no fault of the contractor"


	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item
	
	

	A33.0
	RECOVERY OF EXPENSE AND LOSS

Clause 33.0


	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item


	
	

	A34.0
	FINAL ACCOUNT AND FINAL PAYMENT
	
	

	
	Clause 34.0


	
	

	
	Clause 34.1 is amended by removing “#” next to 34.1
	
	

	
	Clause 34.2 is amended by inserting “#” next to 34.2
	
	

	
	Clause 34.8 is amended by deleting the words “where security as a fixed construction guarantee in terms of 14.4 has been selected or where payment reduction has been applied in terms of 14.7.1”


	
	

	
	Clause 34.13 is amended by replacing “seven (7) calendar days” with “twenty-one (21) calendar days” and deleting the words “subject to the employer giving the contractor a tax invoice for the amount due”


	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item


	
	

	A35.0
	PAYMENT TO OTHER PARTIES
	
	

	
	Clause 35.0
	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item


	
	

	
	CANCELLATION
	
	

	A36.0
	CANCELLATION BY EMPLOYER – CONTRACTOR’S DEFAULT
	
	

	
	Clause 36.0
	
	

	
	Clause 36.1 is amended by the addition of the following clauses:


	
	

	
	36.1.3 refuses or neglects to comply strictly with any of the conditions of contract


	
	

	
	36.1.4 estate being sequestrated, liquidated or surrendered in terms of the insolvency laws in force within the Republic of South Africa


	
	

	
	36.1.5 in the judgement of the employer, has engaged in corrupt or fraudulent practices in competing for or in executing the contract


	
	

	
	Clause 36.3 is amended by removing the reference to “No clause” and replacing the words “principal agent” with “employer”

 
	
	

	
	Clause 36.0 is amended by the addition of the following clause:
	
	

	
	36.7 Notwithstanding any clause to the contrary, on cancellation of this agreement either by the employer or the contractor; or for any reason whatsoever, the contractor shall on written instruction, discontinue with the works on a date stated and withdraw himself from the site.  The contractor shall not be entitled to refuse to withdraw from the works on the grounds of any lien or right of retention or on the grounds of any other right whatsoever
	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item


	
	

	A37.0
	CANCELLATION BY EMPLOYER – LOSS AND DAMAGE
	
	

	
	Clause 37.0
	
	

	
	Clause 37.3.5 is amended by replacing “ninety (90)” with “one-hundred and twenty (120)”
	
	

	
	Clause 37.0 is amended by the addition of the following clause:
	
	

	
	37.5 Notwithstanding any clause to the contrary, on cancellation of this agreement either by the employer or the contractor; or for any reason whatsoever, the contractor shall on written instruction, discontinue with the works on a date stated and withdraw himself from the site. The contractor shall not be entitled to refuse to withdraw from the works on the grounds of any lien or right of retention or on the grounds of any other right whatsoever


	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item


	
	

	A38.0
	CANCELLATION BY CONTRACTOR – EMPLOYER’S DEFAULT


	
	

	
	Clause 38.0
	
	

	
	Clause 38.5.4 is amended by replacing “ninety (90)” with “one-hundred and twenty (120)”
	
	

	
	Clause 38.0 is amended by the addition of the following clause:
	
	

	
	38.7 Notwithstanding any clause to the contrary, on cancellation of this agreement either by the employer or the contractor; or for any reason whatsoever, the contractor shall on written instruction, discontinue with the works on a date stated and withdraw himself from the site. The contractor shall not be entitled to refuse to withdraw from the works on the grounds of any lien or right of retention or on the grounds of any other right whatsoever


	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item
	
	

	A39.0
	CANCELLATION – CESSATION OF THE WORKS


	
	

	
	Clause 39.0
	
	

	
	Clause 39.3.5 is amended by the addition of the following at the end of the sentence:
“within one hundred and twenty (120) working days of completion of such a report”


	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item
	
	

	
	DISPUTE
	
	

	A40.0
	DISPUTE SETTLEMENT


	
	

	
	Clause 40.0
	
	

	
	Clause 40.2.2 is amended by replacing “one (1) year” with “three (3) years”

Clause 40.6 is amended by removing the reference to:

No clause


	
	

	
	Clause 40.7.1 is amended by replacing “(10)” with “(15)” and by the addition of the following:


	
	

	
	Whether or not mediation resolves the dispute, the parties shall bear their own costs concerning the mediation and equally share the costs of the mediator and related costs


	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item


	
	

	
	SUBSTITUTE PROVISIONS
	
	

	A41.0
	STATE CLAUSES


	
	

	
	Clause 41.0
	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item
	
	

	
	CONTRACT VARIABLES
	
	

	A42.0
	THE SCHEDULE (DPW-04EC)


	
	

	
	Clause 42.0
	
	

	
	Tenderers are referred to the Contract Data DPW-04(EC) for variables pertaining to this contract
	
	

	
	
	
	

	
	Fixed:____________ Value related:____________ Time related:____________                                                                                                                                       Item
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


	
	SECTION B: JBCC PRELIMINARIES


	
	

	B1.0
	DEFINITIONS AND INTERPRETATION


	
	

	B1.1
	Definitions and interpretation


	
	

	
	See also clause A1.0 of Section A for additional and/or amended definitions which shall apply equally to this Section


	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item
	
	

	B2.0
	DOCUMENTS


	
	

	B2.1
	Checking of documents

	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B2.2
	Provisional bills of quantities
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B2.3
	Availability of construction documentation
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B2.4
	Interests of agents
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B2.5
	Priced documents
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B2.6
	Tender submission
	
	

	
	Clause 2.6 is amended by replacing “JBCC Form of Tender” with “Form of Offer and Acceptance DPW-07(EC)”


	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B3.0 
	THE SITE


	
	

	B3.1
	Defined works area
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B3.2
	Geotechnical investigation
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B3.3
	Inspection of the site
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item
	
	

	B3.4
	Existing premises occupied
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B3.5
	Previous work – dimensional accuracy
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B3.6
	Previous work – defects
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B3.7
	Services – known
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B3.8
	Services – unknown
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B3.9
	Protection of trees
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B3.10
	Articles of value
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B3.11
	Inspection of adjoining properties
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B4.0
	MANAGEMENT OF CONTRACT
	
	

	B4.1
	Management of the works
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B4.2
	Programme for the works
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B4.3
	Progress meetings
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B4.4
	Technical meetings
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B4.5
	Labour and plant records
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B5.0
	SAMPLES, SHOP DRAWINGS AND MANUFACTURERS’ INSTRUCTIONS


	
	

	B5.1
	Samples of materials
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B5.2
	Workmanship samples
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B5.3


	Shop drawings
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B5.4
	Compliance with manufacturers’ instructions
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B6.0
	TEMPORARY WORKS AND PLANT


	
	

	B6.1
	Deposits and fees
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B6.2
	Enclosure of the works
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B6.3
	Advertising
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B6.4
	Plant, equipment, sheds and offices
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B6.5
	Main notice board
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B6.6
	Subcontractors’ notice board


	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B7.0
	TEMPORARY SERVICES


	
	

	B7.1
	Location
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item
	
	

	B7.2
	Water
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B7.3
	Electricity
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B7.4
	Telecommunication facilities
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B7.5
	Ablution facilities
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B8.0
	PRIME COST AMOUNTS


	
	

	B8.1
	Responsibility for prime cost amounts


	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B9.0
	ATTENDANCE ON N/S SUBCONTRACTORS


	
	

	B9.1
	General attendance
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B9.2
	Special attendance
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B9.3
	Commissioning – fuel, water and electricity


	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B10.0
	FINANCIAL ASPECTS


	
	

	B10.1
	Statutory taxes, duties and levies
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B10.2
	Payment for preliminaries
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B10.3
	Adjustment of preliminaries


	
	

	
	Clauses B10.3.1 and B10.3.2 are amended by replacing “within fifteen (15) working days of taking possession of the site” with “when submitting his priced bills of quantities / lump sum document”
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item

	
	

	B10.4
	Payment certificate cash flow


	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B11.0
	GENERAL


	
	

	B11.1
	Protection of the works
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B11.2
	Protection / isolation of existing / sectionally occupied works
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B11.3
	Security of the works
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B11.4
	Notice before covering work
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B11.5
	Disturbance
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B11.6
	Environmental disturbance
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B11.7
	Works cleaning and clearing
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B11.8
	Vermin
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B11.9
	Overhand work
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B11.10
	Instruction manuals and guarantees
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B11.11
	As built information
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B11.12
	Tenant installations
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	B12.0
	SCHEDULE OF VARIABLES
	
	

	B12.1
	Schedule of variables
	
	

	
	Fixed:____________ Value related:____________ Time related:____________
Item


	
	

	
	This schedule contains all variables referred to in this document and is divided into pre-tender and post-tender categories.  The pre-tender category must be completed in full and included in the tender documents.  Both the pre-tender and post-tender categories form part of these Preliminaries
Spaces requiring information must be filled in, shown as “not applicable” or deleted and not left blank. Where choices are offered, the non-applicable items are to be deleted.  Where insufficient space is provided the information should be annexed hereto and cross-referenced to the applicable clause of the schedule. Key cross reference clauses are italicised in [ ] brackets
	
	

	
	
	
	
	

	
	12.1
	PRE-TENDER INFORMATION
	
	

	
	12.1.1
	Provisional bills of quantities
	
	

	
	[2.2]
	The quantities are provisional
	(yes/no)
	
	
	
	

	
	
	
	
	

	
	12.1.2
	Availability of construction documentation
	
	

	
	[2.3]
	Construction documentation is complete
	(yes/no)
	
	
	
	

	
	
	
	
	

	
	12.1.3
	Interests of agents
	
	

	
	[2.4]
	Details:
	
	

	
	
	
	
	

	
	
	
	
	

	
	12.1.4
	Defined works area
	
	

	
	[3.1]
	Details:
	
	

	
	
	
	
	

	
	
	
	
	

	
	12.1.5
	Geotechnical investigation
	
	

	
	[3.2]
	Details:
	
	

	
	
	
	
	

	
	
	
	
	

	
	12.1.6
	Existing premises occupied
	
	

	
	[3.4]
	Specific requirements:
	
	

	
	
	
	
	

	
	
	
	
	

	
	12.1.7
	Previous work – dimensional accuracy
	
	

	
	[3.5]
	Details:
	
	

	
	
	
	
	

	
	
	
	
	

	
	12.1.8
	Previous work – defects
	
	

	
	[3.6]
	Details:
	
	

	
	
	
	
	

	
	
	
	
	

	
	12.1.9
	Services – known
	
	

	
	[3.7]
	Details:
	
	

	
	
	
	
	

	
	
	
	
	

	
	12.1.10
	Protection of trees
	
	

	
	[3.9]
	Specific requirements:
	
	

	
	
	
	
	

	
	
	
	
	

	
	12.1.11
	Inspection of adjoining properties
	
	

	
	[3.11]
	Specific requirements:
	
	

	
	
	
	
	

	
	
	
	
	

	
	12.1.12
	Enclosure of the works
	
	

	
	[6.2]
	Specific requirements:
	
	

	
	
	
	
	

	
	
	
	
	

	
	12.1.13
	Offices
	
	

	
	[6.4.3]
	Specific requirements:

The contractor shall provide, maintain and remove on completion of the works an office for the exclusive use of the principal agent, minimum size 4 x 3 x 3m high internally, suitably insulated and ventilated, provided with electric lighting and fitted with boarded floor, desk, chair, drawing stool, drawing board and lock-up drawers for drawings.  The office shall be kept clean and fit for use at all times
	
	

	
	
	
	
	

	
	12.1.14
	Main notice board
	
	

	
	[6.5]
	Specific requirements:

The contractor shall provide, erect where directed, maintain and remove on completion of the works a notice board size 3 x 3m as type Drawing GEN 063, constructed of suitable boarding with flat smooth surface and with edging bead 19mm thick round outer edges and projecting 12mm from face of boarding and rounded on front edge.  The board shall be securely fixed to hoarding, where hoarding is provided, or fixed to and including a suitable supporting structure of timber or tubular posts and braces.  The board is to be painted ivory white and the bead and 12mm wide dividing lines dark green. All wording shall be inscribed in dark green as per the coat of arms for SA.  All wording shall be inscribed in dark green painted sans serif lettering
	
	

	
	12.1.15
	Subcontractors’ notice board
	
	

	
	[6.6]
	A notice board is required
	(yes/no)   
	
	
	
	

	
	
	Specific requirements:
	
	

	
	
	
	
	

	
	12.1.16
	Water
	
	

	
	[7.2]
	Option A (by contractor)
	(yes/no)   
	
	
	
	

	
	
	
	
	

	
	
	Option B (by employer – free of charge)
	(yes/no)   
	
	
	
	

	
	
	
	
	

	
	
	Option C (by employer – metered)
	(yes/no)   
	
	
	
	

	
	
	
	
	

	
	12.1.17
	Electricity
	
	

	
	[7.3]
	Option A (by contractor)
	(yes/no)   
	
	
	
	

	
	
	
	
	

	
	
	Option B (by employer – free of charge)
	(yes/no)   
	
	
	
	

	
	
	
	
	

	
	
	Option C (by employer – metered)
	(yes/no)   
	
	
	
	

	
	
	
	
	

	
	12.1.18
	Telecommunications
	
	

	
	[7.4]
	Telephone
	(yes/no)   
	
	
	
	

	
	
	
	
	

	
	
	Facsimile
	(yes/no)  
	
	
	
	

	
	
	
	
	

	
	
	E-mail
	(yes/no)   
	
	
	
	

	
	
	
	
	

	
	12.1.19
	Ablution facilities
	
	

	
	[7.5]
	Option A (by contractor)
	(yes/no)
	
	
	
	

	
	
	
	
	

	
	
	Option B (by employer)
	(yes/no)
	
	
	
	

	
	
	
	
	

	
	12.1.20
	Protection of existing/sectionally occupied works
	
	

	
	[11.2]
	Protection is required
	(yes/no)
	
	
	
	

	
	
	
	
	

	
	12.1.21
	Special attendance
	
	

	
	[9.2]
	Subcontractor (1) details:
	
	

	
	
	
	
	

	
	
	Subcontractor (2) details:
	
	

	
	
	
	
	

	
	
	Subcontractor (3) details:
	
	

	
	
	
	
	

	
	
	Subcontractor (4) details:
	
	

	
	
	
	
	

	
	12.1.22
	Protection of the works
	
	

	
	[11.1]
	Specific requirements:
	
	

	
	
	
	
	

	
	12.1.23
	Disturbance
	
	

	
	[11.5]
	Specific requirements:

The contractor shall keep the site, structures, etc well watered during operations to prevent dust and shall provide and erect and remove on completion of the works all necessary temporary dust screens all to the satisfaction of the principal agent
	
	

	
	
	
	
	

	
	12.1.24
	Environmental disturbance
	
	

	
	[11.6]
	Specific requirements:
	
	

	
	
	
	
	

	
	
	
	
	

	
	12.2
	POST-TENDER INFORMATION
	
	

	
	12.2.1
	Payment of preliminaries
	
	

	
	[10.2]
	Option A (prorated)
	(yes/no)
	
	
	
	

	
	
	
	
	

	
	
	Option B (calculated)
	(yes/no)
	
	
	
	

	
	
	
	
	

	
	12.2.2
	Adjustment of preliminaries
	
	

	
	[10.3]
	Option A (three categories)
	(yes/no)
	
	
	
	

	
	
	
	
	

	
	
	Option B (detailed breakdown)
	(yes/no)
	
	
	
	

	
	
	
	
	

	
	12.2.3
	Additional agreed preliminaries items
	
	

	
	
	Details:
	
	

	
	
	
	
	

	
	
	
	
	


	
	SECTION C: SPECIFIC PRELIMINARIES


	          
	   

	
	Section C contains specific preliminary items which apply to this contract except where N/A (Not Applicable) appears against an item
	
	

	
	
	
	

	C1.0
	CONTRACT DRAWINGS
	
	

	
	
	
	

	
	* Select relevant paragraph and delete whichever is not applicable depending on whether the contract is based on a bills of quantities or lump sum document
	
	

	
	
	
	

	
	* The drawings issued with the tender documents do not comprise the complete set but serve as a guide only for tendering purposes and for indicating the scope of the work to enable the tenderer to acquaint himself with the nature and extent of the works and the manner in which they are to be executed
	
	

	
	
	
	

	
	* A full set of drawings is issued with the tender documents indicating the full scope of the work to enable the tenderer to acquaint himself with the nature and extent of the works and the manner in which they are to be executed
	
	

	
	
	
	

	
	Should any part of the drawings not be clearly understood by the tenderer he shall, before submitting his tender, obtain clarification in writing from the principal agent

	
	

	
	Fixed: ____________ Value related:____________ Time related:____________  
Item


	
	

	C2.0
	GENERAL PREAMBLES
	
	

	
	
	
	

	
	The document “Specification of Materials and Methods to be used (PW371)” is obtainable on the Department’s website (http://www.publicworks.gov.za/ under “Consultants Guidelines”), and shall be read in conjunction with the bills of quantities / lump sum document and be referred to for the full descriptions of work to be done and materials to be used
	
	

	
	
	
	

	
	Fixed: ____________ Value related:____________ Time related:____________  
Item


	
	

	C3.0
	TRADE NAMES
	
	

	
	
	
	

	
	Wherever a trade name for any product has been described in the bills of quantities / lump sum document, the tenderer’s attention is drawn to the fact that any other product of equal quality may be used subject to the written approval of the principal agent being obtained prior to the closing date for submission of tenders
	
	

	
	
	
	

	
	If prior written approval for an alternative product is not obtained, the product described shall be deemed to have been tendered for
	
	

	
	
	
	

	
	Fixed: ____________ Value related:____________ Time related:____________  
Item


	
	

	C4.0
	IMPORTED MATERIALS AND EQUIPMENT
	
	

	
	
	
	

	
	Where imported items are listed in the tender documents, the tenderer shall provide all the information called for, failing which the price of any such item, materials or equipment shall be excluded from currency fluctuations. (refer to Schedule of Imported Materials and Equipment DPW-23(EC) to be completed by tenderer)
	
	

	
	
	
	

	
	Notwithstanding any provisions elsewhere regarding the adjustment of contract prices, the price of any item, material or equipment listed in terms of this clause shall be excluded from the Contract Price Adjustment Provisions (if applicable)
	
	

	
	
	
	

	
	Fixed: ____________ Value related:____________ Time related:____________  
Item


	
	

	C5.0
	VIEWING THE SITE IN SECURITY AREAS
	
	

	
	
	
	

	
	The site is situated in a security area and the tenderer must arrange with the unit commander or other responsible officer to obtain permission to enter the site for tendering purposes


	
	

	
	Fixed: ____________ Value related:____________ Time related:____________  
Item


	
	

	C6.0
	COMMENCEMENT OF WORKS IN SECURITY AREAS

	
	

	
	As the works falls within a security area the contractor must give the unit commander or other responsible officer notice before commencement of the works.  Should the contractor fail to make such arrangements, admission to the site may be refused and any additional costs will be for the contractor’s account


	
	

	
	Fixed: ____________ Value related:____________ Time related:____________  
Item


	
	

	C7.0
	ENTRANCE PERMITS TO SECURITY AREAS

	
	

	
	As the works falls within a security area the contractor shall obtain entrance permits for his personnel and workmen entering the area and shall comply with all regulations and instructions which may be issued from time to time regarding the protection of persons and property under the control of the Defence Force, Police or chief security officer


	
	

	
	Fixed: ____________ Value related:____________ Time related:____________  
Item

	
	

	C8.0
	SECURITY CHECK OF PERSONNEL

	
	

	
	The principal agent may require the contractor to have his personnel and workmen, or a certain number of them, security classified


	
	

	
	In the event of the principal agent requesting the removal of a person or persons from the works for security reasons, the contractor shall do so forthwith and shall thereafter ensure that such person or persons are denied access to the works and the site and/or to any document or information relating to the works

	
	

	
	Fixed:____________ Value related:_____________ Time related:____________

Item


	
	

	C9.0
	PROHIBITION ON TAKING OF PHOTOGRAPHS


	
	

	
	In terms of article 119 of the Defence Act, 44 of 1957, it is prohibited to sketch or to take photographs of any military site or installation or any building or civil works thereon or to be in possession of a camera or other apparatus used for taking of photographs except when authorized thereto by or on behalf of the Minister

The same prohibition is also applicable to all correctional institutions in terms of article 44.1(e) of the Correctional Services Act 8 of 1959


	
	

	
	Fixed:_____________ Value related:____________ Time related:______________

Item


	
	

	C10.0
	HIV/AIDS AWARENESS


	
	

	
	It is required of the contractor to thoroughly study the HIV/AIDS Specification (PW 1544) of the Department that must be read together with and is deemed to be incorporated under this Section of the bills of quantities / lump sum document.  Provision for pricing of HIV/AIDS awareness is made under items C10.1 to C10.5 hereafter and it is explicitly pointed out that all requirements of the aforementioned specification are deemed to be priced hereunder, as the said items represent the only method of measurement and no additional items or extras to the contract in this regard shall be entertained
	
	

	
	The contractor must take note that compliance with the HIV/AIDS Specification is compulsory.  In the event of partial or total non-compliance, the principal agent, notwithstanding the provisions of clause A 31.0 of Section A or any other clause to the contrary, reserves the right to delay issuing any progress payment certificate until the contractor provides satisfactory proof of compliance.  The contractor shall not be entitled to any compensation of whatsoever nature, including interest, due to such delay of payment


	
	

	C10.1
	AWARENESS CHAMPION

	
	

	
	Selection, appointment, briefing and making available of an Awareness Champion including provision of all relevant services, all in accordance with the HIV/AIDS Specification


	
	

	
	Fixed:_____________ Value related:____________ Time related:______________
 Item


	
	

	C10.2
	AWARENESS WORKSHOPS

	
	

	
	Selection and appointment of a competent Service Provider approved by the principal agent, provision of a Service Provider Workshop Plan and a suitable venue, conducting of awareness workshops by means of traditional and/or modern multi-media techniques, including follow-up courses, making available all tuition material and performing assessment procedures, all in accordance with the HIV/AIDS Specification


	
	

	
	Fixed:_____________ Value related:____________ Time related:______________

Item


	
	

	C10.3
	POSTERS, BOOKLETS, VIDEOS, ETC.

	
	

	
	Provision, displaying, maintaining and replacing when necessary of four plastic laminated posters, booklets and educational videos, etc. for the duration of the construction period, all in accordance with the HIV/AIDS Specification


	
	

	
	Fixed:_____________ Value related:____________ Time related:______________

Item


	
	

	C10.4
	ACCESS TO CONDOMS


	
	

	
	Provision and maintenance of condom dispensers fixed in position, including male and female condoms, replenishing male and female condoms on a daily basis as required for the duration of the construction period, all in accordance with the HIV/AIDS Specification


	
	

	
	Fixed:_____________ Value related:____________ Time related:______________

Item


	
	

	C10.5
	MONITORING


	
	

	
	Monitoring HIV/AIDS awareness of workers, providing the principal agent with access to information including making available all reports, thoroughly completed and reflecting the correct information, for the duration of the construction period and close out, all in accordance with the HIV/AIDS Specification


	
	

	
	Fixed:_____________ Value related:____________ Time related:______________

Item


	
	

	C11.0
	OCCUPATIONAL HEALTH AND SAFETY ACT
	
	

	
	
	
	

	
	The contractor shall comply with all the requirements set out in the Construction Regulations, 2003 issued under the Occupational Health and Safety Act, 1993 (Act No 85 of 1993)

It is required of the contractor to thoroughly study the Health and Safety Specification that must be read together with and is deemed to be incorporated under this Section of the bills of quantities / lump sum document
The contractor must take note that compliance with the Occupational Health and Safety Act, Construction Regulations and Health and Safety Specification is compulsory.  In the event of partial or total non-compliance, the principal agent, notwithstanding the provisions of clause A31.0 of Section A or any other clause to the contrary, reserves the right to delay issuing any progress payment certificate until the contractor provides satisfactory proof of compliance.   The contractor shall not be entitled to any compensation of whatsoever nature, including interest, due to such delay of payment
Provision for pricing of the Occupational Health and Safety Act, Construction Regulations and Health and Safety Specification is made under this clause and it is explicitly pointed out that all requirements of the aforementioned are deemed to be priced hereunder and no additional claims in this regard shall be entertained

	
	

	
	Fixed: ____________ Value related:____________ Time related:____________  
Item


	
	


SECTION 1

PRELIMINARIES

	COLLECTION
	
	      AMOUNT

	Item
	
	    Page
	R
	c

	
	SECTION A: JBCC PRINCIPAL BUILDING AGREEMENT
	
	
	

	
	Definitions
	
	

	A1.0
	Definitions and interpretation
	1
	
	

	
	Objective and Preparation
	
	

	A2.0
	Offer, acceptance and performance
	2
	
	

	A3.0
	Documents
	2
	
	

	A4.0
	Design responsibility
	2
	
	

	A5.0
	Employer’s agents
	3
	
	

	A6.0
	Site representative
	3
	
	

	A7.0
	Compliance with regulations
	3
	
	

	A8.0
	Works risk
	3
	
	

	A9.0
	Indemnities 
	3
	
	

	A10.0
	Works insurances
	3
	
	

	A11.0
	Liability insurances
	5
	
	

	A12.0
	Effecting insurances
	5
	
	

	A13.0
	No clause
	5
	
	

	A14.0
	Security
	5
	
	

	
	Execution
	
	

	A15.0
	Preparation for and execution of the works
	7
	
	

	A16.0
	Access to the works
	8
	
	

	A17.0
	Contract instructions 
	8
	
	

	A18.0
	Setting out of the works
	8
	
	

	A19.0
	Assignment
	8
	
	

	A20.0
	Nominated subcontractors
	8
	
	

	A21.0
	Selected subcontractors
	8
	
	

	A22.0
	Employer’s direct contractors
	8
	
	

	A23.0
	Contractor’s domestic subcontractors
	9
	
	

	
	Completion
	
	

	A24.0
	Practical completion
	9
	
	

	A25.0
	Works completion
	9
	
	

	A26.0
	Final completion
	9
	
	

	A27.0
	Latent defects liability period
	9
	
	

	A28.0
	Sectional completion
	9
	
	

	A29.0
	Revision of date for practical completion
	9
	
	

	A30.0
	Penalty for non-completion
	9
	
	

	
	Carried forward R
	
	

	
	
	
	


	
	Brought forward R
	
	

	
	Payment
	
	

	A31.0
	Interim payment to the contractor
	9
	
	

	A32.0
	Adjustment to the contract value
	10
	
	

	A33.0
	Recovery of expense and loss
	11
	
	

	A34.0
	Final account and final payment
	11
	
	

	A35.0
	Payment to other parties
	11
	
	

	
	Cancellation
	
	

	A36.0
	Cancellation by employer – contractor’s default
	11
	
	

	A37.0
	Cancellation by employer – loss and damage
	12
	
	

	A38.0
	Cancellation by contractor – employer’s default
	12
	
	

	A39.0
	Cancellation – cessation of the works
	12
	
	

	
	Dispute
	
	

	A40.0
	Dispute settlement
	12
	
	

	
	Substitute Provisions
	
	

	A41.0
	State clauses 
	13
	
	

	
	Contract Variables
	
	

	A42.0
	The schedule
	13
	
	

	
	SECTION B: JBCC PRELIMINARIES
	
	

	B1.0 
	Definitions and interpretation
	
	

	B1.1
	Definitions and interpretations
	14
	
	

	B2.0
	Documents
	
	

	B2.1
	Checking of documents
	14
	
	

	B2.2
	Provisional bills of quantities
	14
	
	

	B2.3
	Availability of construction documentation
	14
	
	

	B2.4
	Interests of agents 
	14
	
	

	B2.5
	Priced documents
	14
	
	

	B2.6
	Tender submission
	14
	
	

	B3.0
	The Site
	
	

	B3.1
	Defined works area
	14
	
	

	B3.2
	Geotechnical investigation
	14
	
	

	B3.3
	Inspection of the site
	14
	
	

	B3.4
	Existing premises occupied
	15
	
	

	B3.5
	Previous work – dimensional accuracy
	15
	
	

	B3.6
	Previous work – defects
	15
	
	

	B3.7
	Services – known
	15
	
	

	B3.8
	Services – unknown
	15
	
	

	B3.9
	Protection of trees
	15
	
	

	B3.10
	Articles of value
	15
	
	

	B3.11
	Inspection of adjoining properties
	15
	
	

	
	Carried Forward R
	
	

	
	
	
	

	
	Brought forward R
	
	

	B4.0
	Management of contract
	
	
	

	B4.1 
	Management of the works
	15
	
	

	B4.2
	Programme for the works
	15
	
	

	B4.3
	Progress meetings
	15
	
	

	B4.4
	Technical meetings 
	15
	
	

	B4.5
	Labour and plant records
	15
	
	

	B5.0
	Samples, shop drawings and manufacturers’ instructions
	
	

	B5.1
	Samples of materials
	16
	
	

	B5.2
	Workmanship samples
	16
	
	

	B5.3
	Shop drawings
	16
	
	

	B5.4
	Compliance with manufacturers’ instructions
	16
	
	

	B6.0
	Temporary works and plant
	
	

	B6.1
	Deposits and fees
	16
	
	

	B6.2
	Enclosure of the works
	16
	
	

	B6.3
	Advertising
	16
	
	

	B6.4
	Plant, equipment, sheds and offices
	16
	
	

	B6.5
	Main notice board
	16
	
	

	B6.6
	Subcontractors’ notice board
	16
	
	

	B7.0 
	Temporary services
	
	

	B7.1
	Location
	16
	
	

	B7.2
	Water
	16
	
	

	B7.3
	Electricity
	17
	
	

	B7.4
	Telecommunication facilities
	17
	
	

	B7.5
	Ablution facilities
	17
	
	

	B8.0
	Prime cost amounts
	
	

	B8.1
	Responsibility for prime cost amounts
	17
	
	

	B9.0
	Attendance on N/S subcontractors
	
	

	B9.1
	General attendance
	17
	
	

	B9.2
	Special attendance
	17
	
	

	B9.3
	Commissioning – fuel, water and electricity
	17
	
	

	B10
	Financial aspects
	
	

	B10.1
	Statutory taxes, duties and levies
	17
	
	

	B10.2
	Payment for preliminaries
	17
	
	

	B10.3
	Adjustment of preliminaries
	17
	
	

	B10.4
	Payment certificate cash flow
	17
	
	

	B11.0
	General
	
	

	B11.1
	Protection of the works
	18
	
	

	B11.2
	Protection / isolation of existing / sectionally occupied works
	18
	
	

	B11.3
	Security of the works
	18
	
	

	
	Carried forward R
	
	

	
	
	
	
	

	
	Brought forward R
	
	

	B11.4
	Notice before covering work
	18
	
	

	B11.5
	Disturbance
	18
	
	

	B11.6
	Environmental disturbance
	18
	
	

	B11.7
	Works cleaning and clearing
	18
	
	

	B11.8
	Vermin
	18
	
	

	B11.9 
	Overhand work
	18
	
	

	B11.10
	Instruction manuals and guarantees
	18
	
	

	B11.11
	As built information 
	18
	
	

	B11.12
	Tenant installations
	18
	
	

	B12.0
	Schedule of Variables
	
	

	B12.1
	Schedule of variables
	19
	
	

	
	SECTION C: SPECIFIC PRELIMINARIES
	
	

	C1.0
	Contract drawings
	22
	
	

	C2.0
	General preambles
	22
	
	

	C3.0
	Trade names
	22
	
	

	C4.0
	Imported materials and equipment
	22
	
	

	C5.0
	Viewing the site in security areas
	23
	
	

	C6.0
	Commencement of works in security areas
	23
	
	

	C7.0
	Entrance permits to security areas
	23
	
	

	C8.0
	Security check of personnel
	23
	
	

	C9.0
	Prohibition on taking of photographs
	23
	
	

	C10.0
	HIV / AIDS awareness
	
	

	C10.1
	Awareness champion
	24
	
	

	C10.2
	Awareness workshops
	24
	
	

	C10.3
	Posters, booklets, videos, etc
	24
	
	

	C10.4
	Access to condoms
	24
	
	

	C10.5
	Monitoring
	24
	
	

	C11.0
	Occupational Health and Safety Act
	25
	
	

	
	SECTION 1
	
	

	
	PRELIMINARIES
	
	

	
	CARRIED TO FINAL SUMMARY
	R
	
	

	
	
	
	

	
	SUBTOTALS:
	R        
	C      

	
	Category: Fixed R
	
	

	
	Category: Value R
	
	

	
	Category:  Time R
	
	


PAGE  
i
June 2008

